Contractor: J/V SC VECTRA SERVICE SRL - Leader / SC VALDEK IMPEX SRL /

SC FLASH LIGHTING SA

Ref. 	Proiect ID  28533 DTM nr. 41198  BERD Sfantu Gheorghe

Performance based management and mentenance approach for 				rehabilitation and maintenance of street and public lighting in Sfantu 			Gheorghe

Proiect nr.FLS 2019/30.01.2013 Reabilitare iluminat public cartier Simeria

Strada Infratirii

DISPOZITIE DE SANTIER Nr 1/13.11

Data: 15.10.2015

Ref: Iluminat public Strada Infratirii

    - Ca urmare a solicitarilor beneficiaruluia, a situatiei reale gasite in teren, in urma sondarilor efectuate si a sapaturilor realizate pentru traseele de cabluri, rezulta  urmatoarele modificari si completari la cantitatile de lucrari aferente proiectului FLS 2019/ 30.01.2013, FLS 2019.2 (rev. 2015).

    - Prin aceasta, se vor modifica corespunzator urmatoarele cantitati de lucrari:

Denumire articol					                   Initial   Final     NR     NCS

| A119 | Teava OL-Zn 2 ½ toli | m | 30 | 28,5 | 1,5 | 0 |
| --- | --- | --- | --- | --- | --- | --- |
| A102 | Cablu ACYABY 0,6/1 kV, 3x25+16mmp | m | 767 | 767 | 0 | 0 |
| A101 | Set fixare stalp Al – Zn | set | 20 | 19 | 1 | 0 |
| A103 | Cap terminal | buc | 80 | 76 | 4 | 0 |
| A117 | Tub PVC tip G d 110 x 8,2 | m | 54 | 72 | 0 | 18 |
| O.L.70.N | Corp de iluminat ornamental tip lampadar 70 W sodiu cu vapori de inalta presiune | buc | 2 | 10 | 0 | 8 |
| L.50.N | Lampa de iluminat 50 W sodiu cu vapori de inalta presiune | buc | 9 | 0 | 9 | 0 |
| L.P.07.1 | Stalp metalic de iluminat, galvanizat la cald, 7m inaltime, echipat cu un brat curbat 1,5m ( consola simpla ) | buc | 11 | 10 | 1 | 0 |
| L.100.N | Lampa de iluminat 100 W sodiu cu vapori de inalta presiune | buc | 10 | 10 | 0 | 0 |
| L.P.09.1 | Stalp metalic de iluminat, galvanizat la cald, 9m inaltime, echipat cu un brat curbat 1,5m ( consola simpla ) | buc | 8 | 8 | 0 | 0 |
| L.P.09.2 | Stalp metalic de iluminat, galvanizat la cald, 9m inaltime, echipat cu doua brate curbate 1,5m ( consola dubla ) | buc | 1 | 1 | 0 | 0 |
| P.50.N | Corp de iluminat tip reflector 70 W sodiu cu vapori de inalta presiune | buc | 2 | 0 | 2 |  |
| 515 | Cutie de distributie 4 circuite ( CD ) | buc | 0 | 1 | 0 | 1 |

Proiectant /Constructor 					Beneficiar

S.C. FLASH LIGHTING				PRIMARIA MUNICIPIULUI 		SERVICES S.A.					SFANTU GHEORGHE